## Sheet1
DC UPS-5200 | Mecer 7.4V 5200mAh Lithium Battery ON-LINE UPS (for WiFi Router and ONT) with 2 way DC Connector Splitter |  |  |  |  | 900 | online | 1200
ME-650-VU | Mecer 650VA / 360W OFF-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black |  |  |  |  | 810 | online | 1150
Other options
|  |  |  | ME-850-VU | Mecer 850VA / 480W OFF-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 860.2 | online | 1900
|  |  |  | ME-1000-VU | Mecer 1000VA / 600W OFF-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 1391.5 | online | 2100
|  |  |  | ME-2000-VU | Mecer 2000VA / 1200W OFF-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 2137.85 | online | 3000
|  |  |  | ME-3000-VU+ | Mecer 3000VA / 1800W OFF-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 4301 | online | 5450
|  |  |  | ME-1000-WPTU+ | Mecer 1000VA / 800W ON-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 3478.75 | online | 4550
|  |  |  | ME-2000-WPTU+ | Mecer 2000VA / 1600W ON-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 6008.75 | online | 7350
|  |  |  | ME-3000-WPTV | Mecer 3000VA / 2700W ON-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 8602 | online | 10650
|  |  |  | ME-6000-WPTV | Mecer 6000VA / 6000W ON-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 15686 | TO ADD
|  |  |  | ME-10000-WPTV | Mecer 10000VA / 10000W ON-LINE UPS (with AVR,Monitoring Software + Cable & Built-in Surge Protection) - Black | 18911.75 | TO ADD
IVR-1200LBKS | Mecer Inverter 1200VA, 720W, 12V DC-AC Inverter with LCD Display 1 Year Warranty |  |  |  |  | 2555.3 | online | 3100
Other options
|  |  |  | IVR-2400LBKS | Mecer 2400VA, 1440W, 24V DC-AC Inverter with LCD Display 1 Year Warranty | 3225.75 | online | 4350
IVR-1200MPPT | Mecer Inverter 1200VA, 1000W, 12V DC-AC Inverter with LCD Display, Lead Acid / Lithium Battery Compatable and Built-in MPPT Module |  |  |  |  | 3605.25 | online | 4500
1 Year Warranty
other options
|  |  |  | IVR-2400MPPT | Mecer 2400VA, 1800W, 24V DC-AC Inverter with LCD Display, Lead Acid / Lithium Battery Compatable and Built-in MPPT Module | 4174.5 | online | 5400
Revov r100 Lithium battery |  | 10yr/3500 cycle warranty |  |  |  | 26300 | online | 31000
The Revov 2nd Life R100 Battery - 51.2V, 100Ah, 5.1kWh is an energy storage Lithium Iron Phosphate battery using a superior 16 automotive grade cell configuration, designed to withstand harsher conditions, extreme temperatures and with a higher energy density. A lithium iron battery has a service lifespan of 15 to 25 years, depending on how it is used. A REVOV 2nd LiFe battery spends its first life powering 1800 cycles in electrical vehicles (EV). Its 2nd LiFe is perfect for static energy storage solutions, at a greatly reduced cost compared to new LiFe batteries. REVOV 2nd LiFe batteries are environmentally responsible, reducing electronic waste and repurposing important materials. With a 5kWh capacity, you can start your DC backup system with one battery and then grow according to your usage requirements. Applicable with solar, wind or hybrid storage.
FEATURES
Automotive Grade Cells 16 cell configuration
Integrated CAN bus and RS485 BMS
LCD display shows battery information such as state of charge configuration
Pre-configured with optimal parameters
Warranted for daily cycling
Compatible with leading inverter brands
Built in protection Over-discharge / over-charge protection, temperature protection, short circuit protection
SPECIFICATIONS
|  |  | 7000+ cycles |  | Designed Cycle Life
|  |  | 51.2V |  | Nominal Voltage
|  |  | 100Ah |  | Nominal Capacity
|  |  | 5.1kWh |  | Energy
|  |  | 100A |  | Max Current
|  |  | 3 Hours at 40A |  | Recommended Recharge
|  |  | 54.3V- 55.5V |  | Boost / Absorption Voltage
|  |  | 54.0V- 54.5V |  | Float Voltage
|  |  | 48V |  | Suggested Discharge cut-off Voltage
|  |  | 40A |  | Recommended Charging Current
|  |  | 0.6C |  | Recommended Discharge Rate
|  |  | Length x Width x Height 495mm x 442mm x 170mm |  | Size
|  |  | 42kg |  | Weight
SOL-P-M-160 | Mecer 160Watt Solar Panels Poly |  |  |  | Mecer 160Watt Solar Panels Poly | 1480 | TO ADD
Other options
|  |  |  | SOL-P-M-275 | Mecer - Solar 275W PV Poly Module | 2150.5 | online | 3100
|  |  |  | SOL-P-M-330 | Mecer Solar 330W PV Module Poly | 2428.8 | online | 3500
|  |  |  | SOL-P-M-450 | Mecer Solar 450W PV Module MONO | 3449.655 | online | 4500
|  |  |  | SOL-P-R-545 | RenewSys Solar 540W PV Module MONO | 4237.75 | TO ADD
|  |  |  | SOL-P-M-545 | Mecer - Solar 545W PV Modules MONO | 4237.75 | online | 5400
SOL-I-BB-M1 | Mecer 1Kw Inverter 12V 1x100A Battery GEL includes 360W PWM Solar Charge Controller ¦ 220Vac |  |  |  |  | 8855 | online | 11500
Other options
|  |  |  | SOL-I-BB-M2 | Mecer 2Kw 24V 2x100A Bat GEL includes 800W MPPT Solar Charge Controller ¦ 220Vac | 17077.5 | online | 21000
|  |  |  | SOL-I-BB-M1L | Mecer 1Kw 25.6V 50Ah Lithium Battery 820W MPPT | 14231.25 | TO ADD
|  |  |  | SOL-I-BB-M2L | Mecer 2Kw 25.6V 100Ah Lithium Battery 820W MPPT | 27071 | TO ADD
SOL-I-AX-1VP | Mecer HYBRID 1000VA / 1000W Inverter Charger 600W PWM ¦ 220Vac 12VDC (NO Parallel Capability) |  |  |  |  | 3965.775 | TO ADD
other options
|  |  |  | SOL-I-AX-3VP | MECER HYBRID 3000VA / 3000W Inverter Charger 1 200W PWM ¦ 220Vac 24V DC (NO Parallel Capability) | 5996.1 | online | 7500
|  |  |  | SOL-I-AX-5VP | MECER HYBRID 5000VA / 5000W Inverter Charger 2 400W PWM Controller ¦ 220Vac 48V DC (NO Parallel Capability) | 10183.25 | TO ADD
|  |  |  | SOL-I-AX-5M4 | MECER HYBRID 5600VA / 5600W Solar Inverter 6 000W MPPT ¦ 220Vac 48V DC | 16381.75 | TO ADD
|  |  |  | SOL-I-AX-5.RM | MECER King 5K 19" Rack Mount Inverter 4 000W MPPT ¦ 220Vac 48VDC | 15875.75 | TO ADD
|  |  |  | SOL-I-AX-8M | MECER Off Grid 8kVA / 8kW 8000 MPPT (2 x 4 000) ¦ 230Vac 48V DC | 21821.25 | ONLINE | 25900
other options
|  |  |  | SOL-I-AX-8M2 | MECER Max 2 8kVA / 8kW 8000 MPPT (2 x 4 000) ¦ 230Vac 48V DC | 25236.75 | ONLINE | 29500
|  |  |  | SOL-I-AX-11M | MECER Off Grid 11KVA / 11KW 11 000 MPPT (2 x 5 500) ¦ 230Vac 48V DC | 30676.25 | TO ADD
|  |  |  | Overview | Features:
-Customizable status LED bar with RGB light.
-Built-in Wi-Fi for mobile monitoring (Android/iOS Apps are available).
-Supports USB On-the-Go function.
-Reserved communication port for BMS.
-Battery independent function
-Configurable AC/PV output usage timer and prioritization
Selectable high-power charging current
Compatible to Utility mains or generator input
|  |  |  | Brand | Mecer
|  |  |  | Additional Info | Parallel operation up to 6 units (Parallel card included). Selectable Voltage Range: 170-280V AC (For Personal Computers); 90-280V AC (For Home Appliances). Transfer Time: 15ms (For Personal Computers); 20ms (For Home Appliances)
|  |  |  | Dimension | 147.4mm x 432.5mm x 553.6mm
|  |  |  | Family Type | Hybrid Inverter
|  |  |  | Original SKUs | SOL-I-AX-8M
|  |  |  | Voltage | 230VAC, 48V DC
|  |  |  | Wattage | 8000W
|  |  |  | Colour | Grey/Black
SOL-B-L-P5000 | Lithium Battery Pylon UP5000 4.8kWh Li-Ion Solar Battery 48V 100A |  |  |  | 29500 | online | 34600
The Pylontech UP5000 4.8kWh Li-Ion Solar Battery is the new battery in the UP series from Pylontech. The UP5000 is a 48V battery with incredible features to provide a competitive edge in the market.
Modular design for ease of expansion
Higher usable capacity resulting in less battery modules installed
Usable capacity 4560Wh
Parallel Capability of up to 16 units
Allows for large installation of up to 72.96kWh with no LV Hub
Intelligent BMS protecting battery cells
95% DoD with more usable capacity
RS485 and CAN compatible
Comes with a 5-year warranty non-extendable
Required Parts
Pylontech Cable Pack for US2000B / US3000 / Phantom-S Solar Batteries 2m
Important!
MAX DISCHARGE RATE IS ONLY APPLICABLE FOR +- 60 SECONDS. The maximum allowed voltage is 53.5V, please ensure that you check the inverter settings are below this BEFORE plugging in the UTILITY/SOLAR to the inverter. Please ensure that you have the correct BMS cable for the correct inverter.
Specifications
Weight: 42 kg
Battery Type: Lithium Ion
Nominal Energy: 4800 Wh
Depth of discharge: 95.00 %
Voltage: 48 V
Continuous Discharge Rate (Normal Use): 2400 W
Maximum Discharge Rate (5 Minutes): 3600 W
Surge Discharge Rate (15 Seconds): 4320 W
Maximum Charge Rate (5 Minutes): 3600 W
SOL-B-L-P3C | PylonTech US3000C 3.5kWh 48v lithium battery |  |  |  | 24000 | online | 28000
PylonTech US3000C 74Ah 3500Wh 48V Lithium Solar Battery Module
Advantage
Developed with our own LFP (lithium iron phosphate) cell to ensure the highest safety
Self-designed BMS protects the cell in all angels such as abnormal temperature, current, voltage, SoC, SoH
Vertical industry integration ensures more than 6000 cycles with 95% DoD
Modular design gives the end customers the power of choice of capacity
Compatible with most of the available Hybrid inverters
Simple buckle fixing minimize the installation time and cost
Backward compatibility with existing US series product
Pre-charge function to protect ESS system from surge current
Technical Specification
Nominal Voltage(V): 48V
Nominal Capacity (Wh): 3552
Usable Capacity (Wh): 3374.4
Discharge Voltage(V): 44.5 ~ 53.5
Charge Voltage(V): 52.5~53.5
Charge / Discharge Current(A): 37 (Recommend), 74 (Peak@15s)
Communication Port: RS485,CAN
Freedom won 12V 7.5Ah Gate Motor or Garage door lithium battery 5yrs warranty unlimited usage |  |  |  |  | 950 | online | 1500
Freedom Won 12V 7.5Ah LiFEPO4
Freedom Wow Lithium Iron Gate motor and alarm back-up battery
Features
Nominal Voltage: 12 V.
Nominal Capacity: 7.5 Ah.
Energy: 98 Wh.
Cycle Life: >2000 cycles @ 0.2°C 100% DOD.
Months Self Discharge: <3%.
Efficiency of Charge: 100% @ 0.5°C.
Efficiency of Discharge: 96 – 99% @ 1°C.
Cell Material: LiFePO4.
Plastic Case: ABS.
Dimensions: 151mm x 98mm x 101mm.
Weight: 1.6Kg.
Terminal: F2
Sunsynk 8kW Hybrid Inverter |  |  |  |  | 42300 | online | 49500
Higher yields
- Improve self-consumption ratio up to 80%, reducing your electricity bill.
- DC/AC ratio up to 1.3, completely suitable for double-side PV modular.
- Two MPPT design, Max. efficiency of 97.6%.
User-friendly
- LCD Touch screen and buttons, easy operation.
- Compatible with lithium-ion battery and lead acid battery.
- Web browser and mobile App monitoring supported.
Reliable
- PV lighting protection, Anti-islanding protection, Leakage current protection etc.
- Support store energy from DG when needed, ensure the system working within 7*24H.
- IP65 protection degree, adapt to indoor and outdoor using.
- Automatically switch from on-grid to off-grid mode within 5ms.
- Zero exporting function, fast reaction within 200ms in zero export mode.
Smart
- Programmable charging and discharging schedule.
- Both wind turbines and solar panels can be connected as DC input power.
- Max. 16 units can be paralleled for higher system power.
- Retrofitting of existing solar system to energy storage system.
Battery Input Data
- Battery Type: Lead-acid or Li-lon
- Battery Voltage Range (V): 40-60V
- Max. Charging Current (A): 190A
- Max. Discharging Current (A): 190A
- Charging curve: 3 Stages/Equalization
- External Temperature Sensor: Optional
- Charging Strategy for Lithium Battery: Self-adaption to BMS
PV String Input Data
- Max. DC Input Power (W): 10400W.
- PV input Voltage (V): 370V (100V-500V).
- MPPT Range (V): 125-425V.
- Start-up Voltage (V): 150V.
- PV Input Current (A): 22A + 22A.
- No. of MPPT Trackers: 2
- No. of Strings Per MPPT Tracker: 2+2.
AC Output Data
- Rated AC Output and UPS Power (W): 8000W
- Max AC Output Power (W): 8800W
- Peak Power(off-grid): 2 times of rated power, 10 S.
- AC Output Rated Current(A): 33.4A/35A
- Max.AC Output Current(A): 36.7A/38.5A.
- Max Continuous AC Pass-through(A): 50A.
- Output Frequency and Voltage: 50/60Hz; 120/240Vac(split phase), 208Vac(2/3 phase), 230Vac(single phase)
- Grid Type: THD<3%(Linear load<1.5%).
- Current Harmonic Distortion: THD<3% (Linear load<1.5%).
Efficiency
- Max. Efficiency: 97.60%
- Euro Efficiency: 97.00%
- MPPT Efficiency: 99.90%
Protection
- PV Arc Fault Detection: Integrated (Except European Type)
- PV Input Lightning Protection: Integrated
- Anti -islanding Protection: Integrated
- PV String Input Reverse Polarity Protection: Integrated
- Insulation Resistor Detection: Integrated
- Residual Current Monitoring Unit: Integrated
- Output over Current Protection: Integrated
- Output Shorted Protection: Integrated
- Output over Voltage Protection: Integrated
Certifications and Standards
- Grid Regulation: UL1741, IEEE1547, RULE21, VDE0126, AS4777, NRS2017, G98, G99, IEC61683, IEC62116, IE61727
- Safety Regulation: IEC62109-1, IEC62109-2
- EMC: EN61000-6-1, EN61000-6-3, FCC 15 class B
General Data
- Operating Temperature Range ( C ): -25—60 C , >45 C Derating
- Cooling: Fan
- Noise (dB): <30
- Communication with BMS: RS485; CAN
- Weight (kg): 32
- Size (mm): 680 X 4200 X 233mm
- Protection Degree: IP65
- Installation Style: Wall-mounted
Warranty
- 5 Year Warranty
Sunsynk 5kwh hybrid Inverter |  |  |  |  | 27500 | online | 32800
Higer yields.
Improve self-consumption ratio up to 80%, reducing your electricity bill.
DC/AC ratio up to 1.3, completely suitable for double-side PV modular.
Two MPPT design, Max. efficiency of 97.6%.
User-friendly.
LCD Touch screen and buttons, easy operation.
Compatible with lithium-ion battery and lead acid battery.
Web browser and mobile App monitoring supported.
Reliable.
PV lighting protection, Anti-islanding protection, Leakage current protection etc.
Support store energy from DG when needed, ensure the system working within 7*24H.
IP65 protection degree, adapt to indoor and outdoor using.
Automatically switch from on-grid to off-grid mode within 5ms.
Zero exporting function, fast reaction within 200ms in zero export mode.
Smart.
Programmable charging and discharging schedule.
Both wind turbines and solar panels can be connected as DC input power.
Max. 16 units can be paralleled for higher system power.
Retrofitting of existing solar system to energy storage system.
Battery Input Data
Battery Type: Lead-acid or Li-lon
Battery Voltage Range (V): 40-60V
Max. Charging Current (A): 120A
Max. Discharging Current (A): 120A
Charging curve: 3 Stages/Equalization
External Temperature Sensor: Optional
Charging Strategy for Lithium Battery: Self-adaption to BMS
PV String Input Data
Max. DC Input Power (W): 6500W.
PV input Voltage (V): 370V (100V-500V).
MPPT Range (V): 125-425V.
Start-up Voltage (V): 150V.
PV Input Current (A): 11A + 11A.
No. of MPPT Trackers: 2
No. of Strings Per MPPT Tracker: 1+1.
AC Output Data
Rated AC Output and UPS Power (W): 5000W
Max AC Output Power (W): 5500W
Peak Power(off-grid): 2 times of rated power, 10 S.
AC Output Rated Current(A): 21.7.4A
Max.AC Current(A): 25A
Max Continuous AC Pass-through(A): 35A.
Output Frequency and Voltage: 50Hz; 240Vac,
Grid Type: THD<3%(Linear load<1.5%).
Current Harmonic Distortion: THD<3% (Linear load<1.5%).
Efficiency
Max. Efficiency: 97.60%
Euro Efficiency: 96.50%
MPPT Efficiency: 99.90%
Protection
PV Arc Fault Detection: Integrated (Except European Type)
PV Input Lightning Protection: Integrated
Anti -islanding Protection: Integrated
PV String Input Reverse Polarity Protection: Integrated
Insulation Resistor Detection: Integrated
Residual Current Monitoring Unit: Integrated
Output over Current Protection: Integrated
Output Shorted Protection: Integrated
Output over Voltage Protection: Integrated
Certifications and Standards
Grid Regulation: UL1741, IEEE1547, RULE21, VDE0126, AS4777, NRS2017, G98, G99, IEC61683, IEC62116, IE61727
Safety Regulation: IEC62109-1, IEC62109-2
EMC: EN61000-6-1, EN61000-6-3, FCC 15 class B
General Data
Operating Temperature Range ( C ): -25—60 C , >45 C Derating
Cooling: Fan
Noise (dB): <30
Communication with BMS: RS485; CAN
Weight (kg): 20.5
Size (mm): 580 X 330 X 208mm
Protection Degree: IP65
Installation Style: Wall-mounted
Warranty: 5 years
RCT MEGAPOWER S 54000mAh AC Power Bank; 2 x 230V AC Outlet - POWERBANK |  |  |  |  | 4070 |  | online | 5200
RCT MEGAPOWER S 54000mAh AC Power Bank; 2 x 230V AC Outlet; 2.4A USB Type A and 1 x 3A USB Type C with PD support
Other options
|  |  | RCT MP-UPS54AC | RCT MegaPower Lithium UPS 54000 mAh 250W; 2 x 230V AC Outlet; 2 x 2.4A USB Type A; 1 x 3A USB Type C P |  | 4300 | online | 5800
|  |  | RCT MP-UPS80AC | RCT MegaPower Lithium UPS 80000 mAh 250W; 2 x 230V AC Outlet |  | 5700 | TO ADD
|  |  | RCT MP-PB20PD | RCT MEGAPOWER 20000mAh Power Bank 1 x USB A 1x USB C |  | 2100 | online | 2950
Solar flood light CNBM |  |  |  |  | 1600 | TO ADD
Solar floodlight’s your perfect solar lighting solution.
High-quality solar cell and aluminum – Aluminium alloy body prevent bask in rain
Solar battery charging
High-efficiency solar cell
Application for Garden, Park, Road and many other places
Easy installation and adjustable-Easily install the solar flood light and solar panel anywhere in minutes
Direct mount onto a wall or another surface
Solar Panel and LED are mounted separately to get the correct angle
Adjust the angle as needed to position the light
Features:
- Size of Lamp: 225MM 192MM 72MM
- Size of Solar Panel: 340MM 290MM 17MM
- Types of Activity: Light Operated and Remote Control
- Material: Antioxidant Die Cast Aluminum and Tempered Glass
- Irradiation Area: 80 Square Meter (As 100W Incandescent Lamp does)
- Solar Panel: 6V/16W Poly Cell
- Battery: 9000MAH Lithium lron Phosphate Battery
- Accessories: 5M Waterproof Wire/Remote/Expansion Screws
- Types of Brightness: Fully Bright/Half Bright
- Lighting Time: 1+2+3+2+2+2 Hours
- Lighting Time on Rainy Day: 1-2 Days
- Type and Quantity of Lamp Beads: 5630/63 Beads
- Lumen: 600LM
Specifications:
- 1x solar panel
- 1x Floodlight
- 1x remote
- 2x batteries
- 1x user manual
ECOFLOW RIVER 2 Portable Power Station - 256Wh LFP battery - |  |  |  |  | 6800 | online | 8300
Charge 0-100% in only 60 mins
Charge without limits
Run up to 99% of your consumer electronics
Grab-and-go-power
Essential home backup with a 30ms switch-over mode
Power at your fingertips
Capacity: 256Wh
Net Weight: Approximately 3.5kg
Dimensions: 9.6 x 8.5 x 5.7inches
AC Charging: 100-120V 50Hz/60Hz, 360W Max
Solar Input: 8A Max,11-30V 110W
Car Output: 12V/24V, 8A, 100W Max
USB-C Input/Output: 5/9/12/15/20V 3A, 60W Max
AC Output: 120V 50Hz/60Hz, 300W (Surge 600W)
DC Output: 12.6V 8A, 100W Max
USB-A Output: 5V 2.4A 12W Max
Cell Chemistry: Lithium iron phosphate
Battery Cycle Life: 80%+ capacity after 3000 cycles (LiFePO4 Battery)
App Control: Wi-Fi, Bluetooth
Discharge Temperature: -10°C to 45°C (14°F to 113°F)
Charge Temperature: 0°C to 45°C (32°F to 113°F)
Optimal Operating Temperature: 20°C to 30°C (68°F to 86°F)
Storage Temperature: -10°C to 45°C (20°C to 30°C is best)/14°F to 113°F (68°F to 86°F is best)
| RCT MEGAPOWER 2KVA/2000W INVERTER TROLLEY WITH 2 X 100AH BAT |  |  |  | 18000 | online | 21500
Features
Pure Sinewave for Sensitive Electronics & Motorised Loads.
Microprocessor Control Optimizes Reliability.
Input Power Factor Correction.
Output Power Factor 1.0.
Comprehensive Display Allows Easy Monitoring & Access of UPS Status.
Built-in MPPT solar charger.
2 x USB 5 V DC output and 2 x 12 V DC output.
Battery cut off switch for safety.
Pre-installed batteries.
Inverter Battery
Rated power: 2000 W.
Output voltage: 220 VAC.
Output frequency: 50 / 60 Hz.
Output waveform: Pure Sine Wave.
Battery Voltage: 24V.
Battery Specifications: 100Ah 12V x 2.
Solar Input
Maximum photovoltaic voltage (VDC): ≤ 150 V
Charge voltage (VDC): 35 V - 150 V
Rated charge current (A): 30 A
Maximum power (Wp): 800 Wp
Voltage overcharge protection (VDC): 28.4 V
Voltage overcharge recovery (VDC): 28.0 V
Voltage of floating charge (VDC): 27.4V
DC Output
Voltage of high-voltage protection (VDC): 32 V
Voltage of high-voltage recovery (VDC): 32.4 V
Voltage of low-voltage recovery (VDC): 25.2 V
Voltage of low-voltage protection (VDC): 22V
5 V DC USB Output port: 2 Units / MAX 2 A
12 VDC Output port: 2 DC Ports (Max 2 A)
Starting temperature of the exhaust fan: > 45ºC
Ambient temperature for operation: 0 - 40ºC
Ambient temperature for storage: -25 - +55ºC
Operation / storage conditions: 0-90% (No Condensation)
General
Charge by a mains supply rated voltage: 220VAC.
Charge Current: 30A(max).
Product dimensions: 380 mm x 380 mm x 520 mm.
Warranty
1 Year (Electronics)
6 Months (Batteries)
Battery (2 x 12V/100Ah Gel Battery)
Rated Voltage: 12V/Battery (Note this is a 24V System).
Capacity (10hr,1.80V/Cell): 100Ah.
Weight: 31.5Kg.
Max Discharge Current: 30I10A(3min).
Max Charge Current: ≤0.25A C10.
Self- Discharge (25℃): ≤3%/month.
Recommended Using Temperature: 15°C~25°C.
Cover Material: ABS.
Dimensions: 407mm x 174mm x 209mm.
| ECOFLOW RIVER PRO INT |  |  |  | 14200 |  | online | 16900
Specification:
[5 empty] | Battery Type | Lithium-Ion
[5 empty] | Capacity | 720 Wh (28.8 V)
[5 empty] | Input | AC: X-STREAM Charge 660 W Max, 100-120 VAC 50 Hz/60 Hz
Solar: 200 W, 10-25 VDC, 12 A Max
DC: 12V/24 VDC, 8 A Max
[5 empty] | Outputs | 3 x AC Outlet: 600 W, 1200 W Surge Total, 120 VAC 50 Hz/60 Hz
2 x USB Type-A: 5 VDC, 2.4 A Max, 12 W Max
1 x Fast Charge USB Type-A: 5/9/12 VDC, 2.4 A Max, 28 W Max
1 x USB Type-C: 5/9/12/15/20 VDC, 5 A, 100 W Max
1 x Female Car-Style Socket: 13.6 VDC, 10 A (136 W Max)
2 x DC 5512 13.6 V, 3 A
[5 empty] | Charging Time | Wall Charger: 1.6
Car-Style DC Outlet: 6.55 Hours
Two EcoFlow 110W Solar Panels: 9 Hours, Full Sun
[5 empty] | Operating Temperature Range | Charge: 32-113°F / 0-45°C
Discharge: -4-140°F / -20-60°C
[5 empty] | Dimensions | 11.4 x 9.3 x 7.1" / 28.9 x 23.5 x 18.0 cm
[5 empty] | Weight | 16.8 lb / 7.6 kg